## Summary
Town of Belmont
Department of Public Works
New Public Works Facility
SUMMARY CONCEPTUAL DESIGN COST ESTIMATE
Mar 2006
| Building Description | Size (SF)
| Admin Building - Upper Level: | 6930
| Employee Facilities - Lower Level: | 6750
| Division Work Shops: | 9100
| Large Vehicle / Equipment Storage Garage: | 36000
| Small Vehicle / Equipment Storage Garage: | 9398
| Fleet Maintenance Garage: | 9855
| Wash Bay: | 1250
| Subtotal: | 79283
Building/Site/Equipment
| Building Cost | 11906491.856
| Bldg Cost / SF | 150.1771
| Site Costs - General Site Work | 1862021
| Site Costs - Industrial Site Work | 179200
| Demolition | 227360
| Equipment | 339808
| Contractor General Conditions (2.5%) | 362872.0214
| Design Contingency (5%) | 743887.6439
| Building/Site/Equipment Subtotal: | 15621640.5213
Support Structures
| Salt /Sand Storage Structures | 300000
| Satellite Parks Storage Facility | 175000
| General Conditions (2.5%) | 11875
| Design Contingency (5%) | 24343.75
| Support Structures Subtotal: | 511218.75
Construction Contingency
| Construction Contingency (10%) | 1613285.9271
| Construction Contingency Subtotal: | 1613285.9271
Administrative Costs
| Architectural & Engineering Fees (10%) | 1613499.9271
| Architectural & Engineering Special Services | 100000
| Owner's Project Manager | 600000
| Temporary Facilities During Construction | 100000
| Insurance During Construction | 25000
| Printing of Bid Documents | 20000
| Furnishings | 50000
| Telephone System | 35000
| Administrative Subtotal: | 2543499.9271
| Building / Site / Equipment: | 15621640.5213
| Support Structures: | 511219.35
| Construction Contingency: | 1613285.9271
| Administrative Costs: | 2543499.9271
| PROJECT TOTAL (Based on 2006 Dollars): | 20289645.7255
Notes:
1. | Project total should be adjusted for inflation as follows:
- 2007 @ 10%
- 2008 @ 6%
- 5% for each year after 2008
2. | No costs for hazardous material removal/remediation have been included
3. | It is assumed that the subsurface conditions will support the buildings on shallow foundations / slabs-on grade
4. | Estimate does not include costs to acquire property for a new access road to Pleasant Street
5. | Estimate does not include costs to construct an at grade crossing and new access road to Pleasant Street
6. | Estimate does not include costs to relocate the existing underground culvert and sewer main

## Details
Town of Belmont
Department of Public Works
New Public Works Facility
Conceptual Cost Estimate
Admin Building - Upper Level: | 6930 | SF
Employee Facilities - Lower Level: | 6750 | SF
Division Work Shops: | 9100 | SF
Large Vehicle / Equipment Storage Garage: | 36000 | SF
Small Vehicle / Equipment Storage Garage: | 9398 | SF
Fleet Maintenance Garage: | 9855 | SF
Wash Bay: | 1250 | SF
Subtotal: | 79283 | SF
March 2006
|  |  | 2006 Unit | TOTAL | TOTAL
Description | Quantity | Unit | Cost | (No OH&P) | (Incl. OH&P)
DIVISION 2 - SITE WORK (General)
Clear and Grub Site | 2 | ACRE | 9000 | 18000 | 18000
Earth Excavation Bldg Foundations | 7155 | CY | 11 | 78705 | 78705
Additional Excavation at Grade Separation Wall | 600 | CY | 15 | 9000 | 9000
Earth Excavation Site | 2000 | CY | 8 | 16000 | 16000
Earth Excavation Haul & Dispose | 3500 | CY | 12 | 42000 | 42000
Backfill Building Foundations | 6555 | CY | 4 | 26220 | 26220
Finish Grading | 44528 | SY | 0.75 | 33396 | 33396
Precast Concrete Material Storage Bins | 1 | LS | 50000 | 50000 | 50000
Drainage Catchbasins | 13 | EA | 2400 | 31200 | 31200
Drainage Manholes | 7 | EA | 2800 | 19600 | 19600
Specialty Drainage Structures | 2 | EA | 8000 | 16000 | 16000
RCP Pipe (12" to 18" RCP) | 1900 | LF | 45 | 85500 | 85500
Underground Detention / infiltration System | 1 | LS | 30000 | 30000 | 30000
Roof Underground Recharge System - 8" slotted pipe | 1000 | LF | 42 | 42000 | 42000
Roof Underground Recharge System - Recharge Structures | 8 | EA | 2500 | 20000 | 20000
Loam | 800 | CY | 30 | 24000 | 24000
Seed | 7200 | SY | 3.5 | 25200 | 25200
Bituminous Concrete Curb (Type 1) | 2900 | LF | 9.5 | 27550 | 27550
Granite Curb @ Admin Parking | 800 | LF | 35 | 28000 | 28000
Structural Aggregate Backfill | 2800 | CY | 36 | 100800 | 100800
Gravel Borrow Backfill - Within Building | 900 | CY | 25 | 22500 | 22500
Gravel Pavement Subbase | 7800 | CY | 38 | 296400 | 296400
Bituminous Concrete (6" pavement) Yard Area | 7900 | TN | 60 | 474000 | 474000
Access Upgrades | 1 | LS | 63000 | 63000 | 63000
New Water Distribution System - Pearl Street | 1 | LS | 85000 | 85000 | 85000
Backup Water Distribution System - C Street | 1 | LS | 30000 | 30000 | 30000
Electrical & Communication System - Work by GC | 1 | LS | 50000 | 50000 | 0
Sanitary System | 1 | LS | 51000 | 51000 | 0
Bollards | 80 | EA | 540 | 43200 | 43200
Landscaping | 1 | LS | 40000 | 40000 | 0
Sedimentation Control | 1300 | LF | 10 | 13000 | 13000
Slope Stabilization | 1 | LS | 20000 | 20000 | 0
Remove and Reset Existing Drainage Structure Covers | 1 | LS | 10000 | 10000 | 0
Chain Link Fence | 1800 | LF | 24 | 43200 | 43200
Chain Link Fence Gate (Qty 3) | 90 | LF | 125 | 11250 | 11250
Concrete Fuel Island Pad | 23 | CY | 350 | 8050 | 8050
Concrete Dumpster Pad | 5 | CY | 350 | 1750 | 1750
Concrete Approach Slabs | 50 | CY | 350 | 17500 | 17500
Added Cost for Phasing | 1 | LS | 30000 | 30000 | 30000
DIVISION 2 - SITE WORK (INDUSTRIAL)
New Fuel Island, Tanks, Canopy, and Management System | 1 | LS | 160000 | 160000 | 179200 | 12%
DIVISION 2 - DEMOLITION
Demolition - Buildings | 1 | LS | 80000 | 80000 | 89600 | 12%
Demolition - Fuel Island | 1 | LS | 40000 | 40000 | 44800 | 12%
Selective Site Demo / Abandonment Underground Structures | 1 | LS | 15000 | 15000 | 16800 | 12%
Demolition - Bit Conc Paving - Yard Area | 8500 | SY | 8 | 68000 | 76160 | 12%
DIVISION 3 - CONCRETE
03300 CAST-IN-PLACE CONCRETE
Slab-on-Grade / Shallow Foundations | 72353 | SF | 16 | 1157648 | 1296565.76 | 12%
New 8' High Concrete Wall at Vehicle Storage | 175 | CY | 520 | 91000 | 101920 | 12%
New 4' High Concrete Wall at Shops/Maint | 98 | CY | 520 | 50960 | 57075.2 | 12%
Admin Upper Level Concrete Floor | 6930 | SF | 8.5 | 58905 | 65973.6 | 12%
Concrete Grade Separation Wall | 250 | CY | 520 | 130000 | 145600 | 12%
12%
DIVISION 4 - MASONRY | [5 empty] | 12%
12%
04200 MASONRY UNITS | [5 empty] | 12%
12%
Interior Block Walls | 11000 | SF | 21 | 231000 | 258720 | 12%
Exterior Masonry Admin Façade | 3380 | SF | 30 | 101400 | 113568 | 12%
Added Labor Masonry Accent Work | 1 | LS | 8000 | 8000 | 8960 | 12%
12%
DIVISION 5 - METALS | [5 empty] | 12%
12%
05100 STRUCTURAL METAL FRAMING | [5 empty] | 12%
12%
Thrust Ties - Vehicle Storage/Shops/Employee Facil. | 8 | TN | 5600 | 44800 | 50176 | 12%
Vehicle Storage Area Mezzanine | 2700 | SF | 25 | 67500 | 75600 | 12%
Admin Upper Level Mezzanine Form Deck | 6930 | SF | 3.5 | 24255 | 27165.6 | 12%
12%
05500 METAL FABRICATIONS | [5 empty] | 12%
12%
Miscellaneous Metal Allowance | 79283 | SF | 3 | 237849 | 266390.88 | 12%
Stair Tower | 1 | LS | 15000 | 15000 | 16800 | 12%
Wash Bay Catwalk and Stair | 2 | EA | 10000 | 20000 | 22400 | 12%
12%
DIVISION 6 - WOOD AND PLASTICS | [5 empty] | 12%
12%
06100 ROUGH CARPENTRY | [5 empty] | 12%
12%
Rough Carpentry (blocking) | 1 | LS | 10000 | 10000 | 11200 | 12%
12%
06200 FINISH CARPENTRY | [5 empty] | 12%
12%
Finish Carpentry - Miscellaneous | 1 | LS | 10000 | 10000 | 11200 | 12%
Interior standing & Running Trim | 1 | LS | 5000 | 5000 | 5600 | 12%
Bathroom Counters | 10 | LF | 125 | 1250 | 1400 | 12%
Lunch Casework | 20 | LF | 480 | 9600 | 10752 | 12%
Specialty Shelving (built-in) | 15 | LF | 250 | 3750 | 4200 | 12%
Decorative Guardrail @ Roof | 150 | LF | 100 | 15000 | 16800 | 12%
Column Enclosures at Entry | 20 | LF | 120 | 2400 | 2688 | 12%
Conference Room Counters | 30 | LF | 150 | 4500 | 5040 | 12%
Reception Counter Command Center | 6 | LF | 150 | 900 | 1008 | 12%
Reception Counter Admin | 13 | LF | 150 | 1950 | 2184 | 12%
12%
07000 THERMAL & MOISTURE PROTECTION | [5 empty] | 12%
Air Vapor Barrier | 1400 | SF | 11.5 | 16100 | 18032 | 12%
Pit Dampproofing | 1 | LS | 6000 | 6000 | 6720 | 12%
Admin Roofing System | 6930 | SF | 12 | 83160 | 93139.2 | 12%
Rigid Insulation Slab-on-grade & Foundation Wall | 14985 | SF | 2 | 29970 | 33566.4 | 12%
07200 FIRE PROOFING & FIRE STOPPING | [5 empty] | 12%
Fire Stopping at all wall Penetrations | 1 | LS | 20000 | 20000 | 22400 | 12%
12%
07900 JOINT SEALANTS | [5 empty] | 12%
12%
Joint Sealant - Miscellaneous Allowance | 79283 | SF | 3 | 237849 | 266390.88 | 12%
12%
08100 DOORS AND FRAMES | [5 empty] | 12%
12%
Personnel Doors - Door, Frame, and Hardware Wood | 19 | EA | 1500 | 28500 | 31920 | 12%
Personnel Doors - Dr, Frame, and Hardware Metal | 67 | EA | 1300 | 87100 | 97552 | 12%
Premium for Vision Panels | 20 | EA | 150 | 3000 | 3360 | 12%
12%
08300 SPECIALTY DOORS | [5 empty] | 12%
12%
Overhead Sectional Doors (16' - 0" w x 16' - 0" h) | 2 | EA | 5400 | 10800 | 12096 | 12%
Overhead Sectional Doors (14' - 0" w x 16' - 0" h) | 26 | EA | 4500 | 117000 | 131040 | 12%
12%
08400 ENTRANCES AND STOREFRONTS | [5 empty] | 12%
12%
Main Entrance | 1 | LS | 5000 | 5000 | 5600 | 12%
12%
08500 WINDOWS | [5 empty] | 12%
12%
Exterior Window System | 752 | SF | 60 | 45120 | 50534.4 | 12%
Kalwal Garage Panels - Shops/Vehicle/Equip/Wash | 2240 | SF | 38 | 85120 | 95334.4 | 12%
Interior Windows | 160 | SF | 40 | 6400 | 7168 | 12%
12%
08600 SKYLIGHTS & ROOF OPENINGS | [5 empty] | 12%
12%
Roof Hatch & Ladder | 2 | EA | 3600 | 7200 | 8064 | 12%
12%
DIVISION 9 - FINISHES | [5 empty] | 12%
12%
09200 PLASTER AND GYPSUM BOARD | [5 empty] | 12%
12%
Interior Partitions - Gyp. Board w/ 4" Stud System | 10480 | SF | 6 | 62880 | 70425.6 | 12%
Interior Partitions - Perimeter Gyp. Board Only Admin | 4482 | SF | 1 | 4482 | 5019.84 | 12%
Interior Partitions - Gyp 6" Stud above CMU | 9844 | SF | 6.5 | 63986 | 71664.32 | 12%
3.5" Insulation in Interior Walls | 20324 | SF | 1 | 20324 | 22762.88 | 12%
12%
09300 TILE | [5 empty] | 12%
12%
Ceramic Tile Floors & Walls | 1434 | SF | 12 | 17208 | 19272.96 | 12%
Quarry Tile | 506 | SF | 15 | 7590 | 8500.8 | 12%
12%
09500 CEILINGS | [5 empty] | 12%
12%
Acoustical Ceiling Tile Ceiling System | 14548 | SF | 2.5 | 36370 | 40734.4 | 12%
Gypsum Board Ceiling | 650 | SF | 6.6 | 4290 | 4804.8 | 12%
12%
09600 FLOORING | [5 empty] | 12%
12%
Carpet | 6116 | SF | 8 | 48928 | 54799.36 | 12%
Raised Rubber Flooring | 6715 | SF | 9 | 60435 | 67687.2 | 12%
Vinyl Base | 8500 | LF | 2.5 | 21250 | 23800 | 12%
12%
09900 PAINTS AND COATINGS | [5 empty] | 12%
12%
Painting - Interior Block Walls | 22000 | SF | 2.1 | 46200 | 51744 | 12%
Painting - Gypsum Wallboard Walls | 45130 | SF | 1.5 | 67695 | 75818.4 | 12%
Painting - Gypsum Wallboard Ceilings | 650 | SF | 1.5 | 975 | 1092 | 12%
Painting - Structural Steel (Shop Only) | 9855 | SF | 1.5 | 14782.5 | 16556.4 | 12%
Painting - Structural Steel (Wash Bay Only) | 1250 | SF | 2.5 | 3125 | 3500 | 12%
Wash Bay Floor Barrier Coating | 1250 | SF | 11 | 13750 | 15400 | 12%
12%
DIVISION 10 SPECIALTIES | [5 empty] | 12%
12%
10150 COMPARTMENTS AND CUBICLES | [5 empty] | 12%
12%
Handicap Toilet Compartments | 2 | EA | 2400 | 4800 | 5376 | 12%
Standard Toilet Compartments | 2 | EA | 2000 | 4000 | 4480 | 12%
Showers | 3 | EA | 1200 | 3600 | 4032 | 12%
Urinal Screens | 2 | EA | 850 | 1700 | 1904 | 12%
Privacy Screens | 2 | EA | 1500 | 3000 | 3360 | 12%
12%
10340 MANUFACTURED EXTERIOR SPECIALTIES | [5 empty] | 12%
12%
Architectural Exterior Finishes | 1 | LS | 1000 | 1000 | 1120 | 12%
12%
10400 IDENTIFICATION DEVICES | [5 empty] | 12%
12%
Signage (interior ) | 1 | LS | 5000 | 5000 | 5600 | 12%
Signage (exterior ) | 1 | LS | 8000 | 8000 | 8960 | 12%
Fire Extinguishers | 30 | EA | 250 | 7500 | 8400 | 12%
12%
10800 TOILET, BATH, AND LAUNDRY ACCESSORIES | [5 empty] | 12%
12%
Toilet Accessories | 1 | LS | 5000 | 5000 | 5600 | 12%
Benches | 4 | EA | 1000 | 4000 | 4480 | 12%
12%
DIVISION 11 EQUIPMENT | [5 empty] | 12%
12%
Wash Equipment | 1 | LS | 50000 | 50000 | 56000 | 12%
Heavy Duty Portable Vehicle Lift (50,000 lb capacity minimum) | 1 | LS | 60000 | 60000 | 67200 | 12%
Light Duty Vehicle Lift (20,000 lb capacity minimum) | 2 | LS | 20000 | 40000 | 44800 | 12%
Bridge Crane - 2 Bay Coverage | 1 | LS | 40000 | 40000 | 44800 | 12%
Light Duty Jib Crane (tire shop) | 1 | LS | 2000 | 2000 | 2240 | 12%
Overhead Lubrication System | 1 | LS | 50000 | 50000 | 56000 | 12%
Storage Shelving / Benches / Racks | 1 | LS | 38000 | 38000 | 42560 | 12%
Exhaust Removal System | 3 | EA | 7800 | 23400 | 26208 | 12%
12%
DIVISION 13 SPECIAL CONSTRUCTION | [5 empty] | 12%
12%
Pre-Engineered Metal Building | 72533 | SF | 28 | 2030924 | 2274634.88 | 12%
Admin Upper Level Floor Framing | 6750 | SF | 10 | 67500 | 75600 | 12%
Wash Bay FRP Liner Panel | 3000 | SF | 6 | 18000 | 20160 | 12%
Snow Guards | 1300 | LF | 3.5 | 4550 | 5096 | 12%
Lockers (60 male + 4 female) | 64 | EA | 450 | 28800 | 32256 | 12%
Dishwasher, Stove, Microwaves, Disposal & Refrigerator | 1 | LS | 6000 | 6000 | 6720 | 12%
12%
DIVISION 14 CONVEYING SYSTEMS | [5 empty] | 12%
12%
14200 ELEVATORS | [5 empty] | 12%
Elevator | 1 | LS | 65000 | 65000 | 72800 | 12%
12%
DIVISION 15 MECHANICAL | [5 empty] | 12%
12%
15300 FIRE PROTECTION | [5 empty] | 12%
Fire Protection System | 79283 | SF | 4.6 | 364701.8 | 408466.016 | 12%
12%
15400 PLUMBING | [5 empty] | 12%
Plumbing System | 79283 | SF | 13 | 1030679 | 1154360.48 | 12%
12%
15700 HVAC EQUIPMENT | [5 empty] | 12%
12%
H&V New Vehicle Storage Garage | 45398 | SF | 12 | 544776 | 610149.12 | 12%
H&V Fleet Maint, Shops, Wash Bay | 20205 | SF | 17 | 343485 | 384703.2 | 12%
HVAC Administration Building & Employee Facilities | 13680 | SF | 20 | 273600 | 306432 | 12%
12%
DIVISION 16 ELECTRICAL | [5 empty] | 12%
12%
16000 ELECTRICAL | [5 empty] | 12%
Electrical System (including emergency generator) | 79283 | SF | 28 | 2219924 | 2486314.88 | 12%
|  |  |  | TOTAL: | 14514880.856
Assumptions:
1. No costs for hazardous material removal/remediation has been included
2. It is assumed that the subsurface conditions will support the buildings on shallow foundations / slabs-on grade
3. Estimate does not include costs to acquire property for a new access road to Pleasant Street
4. Estimate does not include costs to construct an at grade crossing and new access road to Pleasant Street
5. Estimate does not include costs to relocate the existing underground culvert and sewer main